PUBLICACIONES  SOBRE  SEGURIDAD EN ABASTECIMIENTOS DE AGUA

A Brief Discussion of Water Security Issues Following the September 11, 2001 Terrorist Attacks By Robert E. Hebert Vice Chairman ECO Resources, Incorporated Sugar Land, Texas and President The National Council for Public-Private Partnerships Washington, D.C. December 12, 2001 Since September 11, 2001 there has been a painful realization that America is at risk of terrorist attack. Prior to the World Trade Center and Pentagon attacks, we have generally felt removed from the death and destruction that occurred periodically throughout the world, but not in America. Even the Murrah Federal Building bombing in Oklahoma City was seen as the workings of insane Americans – more in line with a school shooting or an ex-employee attack than a worldwide terrorist conspiracy. As President Bush has said, we now must realize that we are a target for terrorism, that we have been for some time and that we will be into the foreseeable future. The dismantling of Osama Ben Laden’s Afghanistan organization and disruption of Al Qaeda’s network is only a start of a long process to make the world safe from terrorists of all types. Potential terrorists may be found as individuals or within organizations espousing:  Radical Ideologies  Religious Fanaticism  Single-Issue Fanaticism (includes ex-employees)  Nationalist Fanaticism  Third-Party State-sponsored Fanatics (Iraq, Libya, etc.) Wherever they arise, the United States will appear as a natural target due to our wealth and our traditions of individual freedom, and it is a sad fact that those freedoms that we hold so dear make us all the more vulnerable to attack. However, that vulnerability can be countered to a large extent by proper preparation in every arena of risk, including our water systems. Since September 11, the bar of terrorism has been raised for those who would spread their poison and increase the number of potential victims. Our responsibility to those we serve requires that the water industry take steps to review and revise, as needed, those security measures applied to protect this vital commodity. It must maintain an ongoing effort to assure that this necessity of life cannot be turned into a weapon of terrorism. The responsibility for action rests with all water utilities - large or small, public or private. Illness and death arising from the contamination of a large water supply, or a few scattered small ones, has the capability to strike terror in every American heart. If we become threatened by sabotaged tap water, how do we go about our day? How do we let our children go to school? Do we eat out? The opportunity for triggering widespread terror far out of proportion to the actual damage done makes our water supplies a natural target of interest to potential terrorists. Protection from terrorism, or any other act of aggression, stands on three legs of support: Prevention, Detection and Response. Failure to maintain any leg places a water system at risk, but over concentration on one or two legs also places a water system at risk. An effective program of prevention, detection and response must be balanced and must match the resources available within each utility. To be well prepared, prevention, detection and response measures must be ever present, designed for effectiveness and periodically reviewed to assure that their effectiveness is not compromised through neglect as time passes. Remember, on or before September 10, how many of us would have thought that the attacks of September 11 would have, or even could have, occurred as they did. Terrorists will always strike at targets that give the maximum chance for success. That means strikes when and where they’re least expected, in a manner that no one thought to prevent, or where those responsible for security failed to act effectively. What do we do? Here are some ideas for reference as you go about reviewing and revising your own security procedures: Be mindful of the three legs of security  Prevention  Detection  Response No one leg can be ignored in favor of another, therefore:  Realize the threat is real.  Stay calm, but prepare Now.  Fully assess the risk before acting.  Understand all your security options.  Don’t spend money foolishly.  Be sure even low-cost options are acceptable for the long-term.  Pursue the most cost-effective options for your specific utility. There are alternatives such as entry alarms, remote TV surveillance, security patrols and anti-personnel fencing. Each has an associated cost and security benefit. Each may be combined with others to provide a higher level of redundancy. The choice of each security measure used in a water utility should be made following a comprehensive vulnerability assessment that estimates the degree of risk and allocates personnel and financial resources to prevention based on each utility’s capabilities. Policy and procedures for prevention, and for every leg of security, must be reviewed and approved at the city council, utility board of directors or corporate board of directors level for each water utility, upon completion of the vulnerability assessment and consultation with customers, political leaders, regulatory agencies, utility operators, consulting engineers and local law enforcement and emergency response agencies. Prevention options must be implemented that are effective and sustainable by the utility into the foreseeable future. There are no short-term fixes for prevention. Detection Security experts generally agree that water systems are most vulnerable at the point where finished water is stored and distributed. This conclusion stems from the observation that reservoirs and aquifers are extremely difficult to contaminate due to the large volumes of water involved and the fact that these raw waters are subject to treatment and disinfection prior to storage as finished water. Wells developing ground water are enclosed mechanical operations located at secure, or securable water plants, and are not easily accessed for the delivery of contaminants. However, finished water is stored in relatively small quantities, generally in ground storage tanks of 10,000 to 1,000,000 gallons, while distribution systems provide numerous points of entry with which a contaminant can be introduced into finished water. Finished water storage can be protected by well-planned security measures for each water plant, but the vulnerability of the distribution system requires that an on-going detection program be implemented to assure that any deterioration in water quality is quickly identified and followed by a rapid response and investigation. Sadly, current testing requirements throughout the United States utilize a time-line that, while adequate for most health purposes, fails to provide the early-warning or instantaneous notification required to detect an intentional contamination. For example, in Gideon, Missouri an outbreak of salmonellosis in 1993, resulting from a combination of natural contamination and poor maintenance, caused almost 600 people to become ill in this town of 1,104 residents. The event was triggered by contamination introduced during a distribution system flushing on November 10, 1993, identified by a local hospital on November 29, with fecal coliform sampling on December 16 and ‘boil water’ notices finally sent on December 18 – fully 38 days after the initiation of contamination There are many things that could have been done to speed the response to this outbreak, but the one thing that could not be avoided is the two days to complete the colieform testing. Two days is an eternity when a system has been intentionally contaminated. Security requires faster detection methods, but at present the technology is limited, very costly and subject to numerous false positives. In-line chlorine measuring systems offer one low-cost option for utilities utilizing chlorine as a disinfectant. Spaced logically throughout a distribution system and tied into a telephone alarm system, they can give rapid notice of chlorine residual deterioration. However, not all possible contaminants react with chlorine. The following chart shows some possible contaminants and their resistance to chlorine: Agent; Type; Stability in H2O; Cl2 Tolerance. Anthrax; Bacteria; 2 years; High, Spores resistant. Cholera; Bacteria; Stable; Low, easily killed. Plague; Bacteria; 16 days; Unknown. Salmonella; Bacteria; 8 days, fresh H2O; Low, inactivated. T-2 mycotoxin; Biotoxin; Stable; High, resistant. Microcystins; Biotoxin; Probably stable; Resistant at 100 ppm. Ricin; Biotoxin; Unknown; Resistant at 10 ppm. Botulinum Toxins; Biotoxin; Stable; Inactive by 6 ppm, 20 minutes. Cryptosporidiosis; Protozoan; Stable; Oocysts resistant. It is very difficult to acquire any of these agents in sufficient quantity and quality to do harm to a water system, and a large number of potential contaminants can be deactivated by chlorine. But those such as Ricin and microcystins require Cl2 residual levels that generate noticeable taste, odor and possible long-term health issues by themselves. For these and other contaminants resistive to chlorine, alternate detection measures such as continuity and turbidity measurement devices can be considered. Whether using continuous chlorine, turbidity, continuity testing, or a combination of all three as a security monitoring system, the measurements will be subject to occasional false positives, since measurement fluctuations can be caused by something other than intentional contamination. This is especially true when in-line monitoring is performed in the distribution system. Events such as fire flows, line flushing or water line breaks can disrupt normal flow patterns resulting in small amounts of silt being disturbed in the lines. The resulting turbid water can reduce residual chlorine plus cause high continuity and turbidity simultaneously. Response plans should take these natural occurrences into consideration and allow for rapid investigation of any symptom, but withholding additional action until the problem source can be determined. Over response to a symptom can create that sense of panic that all terrorists desire to achieve, and that all water utilities seek to avoid. New equipment is being developed that will greatly speed the early detection of, and testing for, biological and chemical contamination. These devices include:  DNA Microchip Arrays  Immunologic Techniques  Microrobots  Optical Scan Techniques  Single Cell Count and Short Incubation Dye Tests Some of this technology is now available for military use. However, military units are subject to a higher degree of false positives than is considered acceptable for public use (a false positive may be acceptable when you’re knowingly placing yourself in harm’s way, but is not acceptable for triggering system wide contamination responses in a public water system). The actual equipment used in monitoring water safety should be developed as part of a thorough vulnerability assessment study for each water utility. Response The key to response is to plan in advance of an event, thereby allowing the utility to respond, not react. How do you decide that you have an event?  Treat every symptom as real until proven otherwise.  Avoid panic, or panic generating responses.  Use sound troubleshooting techniques.  Eliminate or confirm the symptoms quickly. The following points are vital to proper response to a water security event:  Identify and recruit local resources: - Police agencies - Emergency Response Agencies - Environmental Agencies - Health Agencies - Water Laboratories You don’t have to have all the resources for effective response if you know of other local agencies that have something you need, and if you have established a working relationship with them in the event of a contamination incident well in advance. In an event, there is no time to find out who has what.  Develop a specific response trigger for your adopted detection program.  Pre-set responses to the triggers, and follow-up responses as symptoms are eliminated or confirmed.  Match your responses to: - Detection capabilities - Possible health impact - Pre-determined required action(s) Past experience in water contamination situations indicates that risk has been elevated in nearly every case by slow and inadequate monitoring, detection processes that often start after the event has occurred and slow, poorly crafted curative actions. Planning together in advance of an emergency can pay tremendous safety dividends. This brief overview of current water security issues is intended to be an initial primer for elected officials and managers of small to medium-sized investor-owned water utilities. Many other resources are available to those wishing to investigate the questions and recommendations posed here in greater detail. Here are some internet locations that are available for that purpose:  www.cdc.gov (Center for Disease Control)  www.epa.gov/safewater/security/secfs.html (EPA)  www.nipc.gov (National Infrastructure Protection Center)  www.infragard.net (U. S. Government Partnership for Protection)  www.awwa.org/public_ep/ (AWWA)

September 26, 2001 THE WATER SUPPLY ## Added Security for Dams, Reservoirs and Aqueducts By GREG WINTER and WILLIAM J. BROAD Cities and states are reassessing the safety of their drinking water, probing for weaknesses and shoring up defenses in what experts consider the unlikely event of a terrorist attack on water supplies.. Aaron Lee Fineman for The New York TimesInside a laboratory of the New York City Department of Environmental Protection, Mario Benavides tests a sample of the city's water supply.. Helicopters, patrol boats and armed guards sweep across the watershed feeding New York City, enforcing a temporary ban on fishing, hunting and hiking. Massachusetts has sealed commuter roads that run atop dams or wind down to the water's edge. And Utah has enlisted the help of the Federal Bureau of Investigation to peer down at reservoirs from planes and satellites, hoping to spot any weak points before the crowds gather in Salt Lake City in February for the Winter Olympics. Since Sept. 11, fears of biological or chemical attack on water systems have spread through e-mail messages that warn consumers to stock up on bottled water, fueling anxious conversations in offices and living rooms. Yet experts say any threat to public water supplies remains largely remote. In fact, experts on germ warfare say, to cause widespread health problems by contaminating a public water supply verges on the impossible. "The water threat is mostly science fiction," said Richard Spertzel, a microbiologist who formerly led the United Nations' biological-weapons inspection teams in Iraq. Poisoning the voluminous rivers and reservoirs nourishing cities would require truckloads of chemicals or biological agents that would be difficult to produce and relatively easy to spot, experts say. Even if terrorists crashed a Boeing 767 laden with anthrax into a reservoir, the lethal agent might well be destroyed in any resulting fire, or fail to diffuse effectively. Perhaps most important, most cities could simply close off a contaminated reservoir and draw water from another source. New York City, for example, has nearly 20 reservoirs to choose from. Rather than tainting a city's water supply, experts say, terrorists would be more likely to try to interrupt it entirely, perhaps by destroying dams or aqueducts. "That is the larger threat," said Diane Vande Hei, executive director of the Association of Metropolitan Water Agencies, who helped coordinate Clinton administration efforts to safeguard water against terrorism. But she and other experts concede that they are looking at everything differently now, "in light of what we thought could never happen.` Though pipes and spigots might not be so effective as scattering toxins into the air, some researchers say they believe that the water industry may have underestimated the risk that biological and chemical agents could make their way into homes without being detected. Many cities, with their thousands of miles of pipe, were never designed to prevent terrorists from patching into neighborhood lines and poisoning the water after it has been treated and tested for safety. "If someone is going to attack us, that's where they would do it," said Dr. Dennis D. Juranek, associate director of the Division of Parasitic Diseases at the Centers for Disease Control and Prevention. "We're highly vulnerable." Such an attack, experts advise, could sicken small neighborhoods or large buildings, but would probably not result in the widespread loss of life that terrorists generally seek. Still, the threat is real enough that security experts checked the White House for similar weaknesses years ago and found it to be vulnerable. Extensive changes were made there to safeguard against poisoning. Now cities are doing what they can to protect their pipes, putting padlocks on access doors, setting up surveillance cameras and installing alarms to prevent tampering in their tunnels. They have also dispatched lobbyists to Washington to drum up money for security and, while they are at it, to get financing for fixing leaky pipes and other outdated infrastructure. In addition, utility companies are pushing to be allowed to keep many details of their security plans a secret. At present, federal law requires utilities to publish reports on how they would tackle their worst emergencies. That information may be important for fire departments and the police, cities say, but could also be useful to anyone interested in causing trouble. "We don't need to advertise where the weakest links in the armor are," said Tom Curtis, deputy director of the American Water Works Association. Some cities have greatly increased their testing efforts. In New York City, technicians stare through microscopes at any organisms they find, and pore through computer printouts of chemicals around the clock, making sure nothing out of the ordinary appears. "This has always been in the back of our minds," said Thomas Tipa, operations director for the New York City Department of Environmental Protection. "It's finally become a reality. We're on full alert." But while cities regularly test for dozens of compounds in the water, they are still incapable of screening for many known chemical and biological agents, according to the disease control centers. Even if they had the technology to do so, the time and expense involved in testing for the many organisms that can survive in chlorine would be prohibitive. As a result, utility companies are looking for cues overseas, from countries like Israel that have lived with the threat of such weapons for years. Emulating them, many cities hope to place robots in the pipes, armed with computer chips that light up when dangerous microorganisms pass by

Authorities move to safeguard water Published Tuesday, Oct. 30, 2001, in the San Jose Mercury News BY FRANK SWEENEY Mercury News As the anthrax scare on the East Coast has many wondering about dangerous microbes in the air, key agencies around California are racing to make sure that people don't worry about another question -- ``What's in the water?'' Government water agencies and private companies that supply drinking water to millions of Bay Area residents have stepped up security of dams, treatment plants, pipelines and pumping facilities since the Sept. 11 terrorist attacks. They have worked quickly to protect facilities, hire guards and make sure dams are safe. Other safeguards are now in place to strengthen existing protections and keep biowarfare agents out of the water supply. While no terror-related attempts have been reported, water officials have put new importance on being prepared. ``Security has been increased at all levels,'' said David Jones, spokesman for the U.S. Bureau of Reclamation, which operates the federal Central Valley Project that sends water to many parts of California. ``Local authorities are looking at providing more security more closely. Everybody is in a heightened state of awareness.'' Officials say there is little likelihood that terrorists could put enough biological or chemical agents into the raw water supply to overcome the filtration and chlorinated disinfection processes that drinking water goes through before it reaches the tap. However, there is concern that someone could damage the facilities that bring drinking water to the region from the Central Valley and the Sierra Nevada, as well as from local reservoirs and groundwater supplies. Although water agencies won't discuss specific security measures, many have hired guards, installed alarms, restricted public access and increased monitoring of supplies to detect contamination. Threat downplayed Earlier this month, U.S. Environmental Protection Agency Administrator Christine Todd Whitman downplayed the threat of a successful bioterror attack on the nation's drinking water systems. ``People are worried that a small amount of some chemical or biological agent -- a few drops, for instance -- could result in significant threats to the health of large numbers of people,'' she said during an Oct. 18 visit to a water laboratory in Maryland. ``I want to assure people. That scenario just can't happen.'' Whitman cited dilution and treatment barriers that already protect most water systems, as well as stepped-up security measures. ``We believe it would be very difficult for anyone to introduce the quantities needed to contaminate an entire system,'' she said. Nor does the FBI consider biohazard contamination a probable threat. Several published studies have noted that it would take many tons of contamination to imperil most water systems -- an amount that is neither easily obtained nor easily dispersed. There have been four known efforts, all by domestic groups, to tamper with water supplies in the United States, according to a database compiled by the Monterey Institute of International Studies. In the first, two college students formed a group called RISE in the early 1970s and produced more than 60 pounds of typhoid bacterial culture, which they allegedly planned to release into the water supplies of Chicago, St. Louis and other Midwestern cities. The plan was thwarted when members of the group went to police. In 1984, a religious cult known as the Rajneeshees tried to sicken the people of a small town in Oregon by dumping a contaminant, believed to be either salmonella bacteria or raw sewage, into the town's water. But the attack apparently did little harm, as the contaminants were quickly diluted. Instead, the group turned to spreading salmonella in restaurant food, managing to sicken more than 750 people with food poisoning -- the only successful incident of bioterrorism recorded in this country until the recent spate of anthrax letters. In 1985, officials in New York City got a letter threatening to contaminate the water system with plutonium trichloride unless a vigilante named Bernard Goetz, then awaiting trial for the subway shooting of four people, was released. Although tests showed an elevated level of radioactivity in the city's water 16 days later, it was never clear whether this was the result of deliberate contamination or a testing error. Finally, an Arkansas-based survivalist sect called the Covenant, the Sword and the Arm of the Lord made plans in the 1980s to poison the drinking water of a major city -- this time with a 30-gallon drum of potassium cyanide. The sect's compound was raided by federal agents in 1985, before a specific water system had been targeted. But studies of the plot have noted that the relatively small amount of chemicals in the group's possession would not have been enough to endanger most water supplies. All those attempts may have failed, but the fact that they got as far as they did is fueling security precautions. FBI officials told Congress that the larger concern is protection of dams, treatment plants, tunnels and pipelines from damage that could disrupt the water supply or introduce contaminants into drinking water after it leaves treatment plants. Santa Clara Valley water ``We've more than doubled our security forces,'' said Mike Di Marco, spokesman for the Santa Clara Valley Water District, adding that the new measures will cost the district more than $1.5 million by the end of this year. The district, which operates 10 water conservation reservoirs in the hills around the Santa Clara Valley, is responsible for the underground water supply and imports water from the Central Valley in state and federal aqueducts and pipelines. It is the water wholesaler, selling to retail municipal and private companies that supply the Santa Clara County's homes, industry and agriculture. Guards have been posted around the clock at the district's three water treatment plants and at the Pacheco and Coyote pumping plants that bring Central Valley water into the county, Di Marco said. Vehicles and people entering those facilities are subject to a search. District reservoirs are not considered vulnerable to bioterrorism. ``Anthrax and smallpox -- they just don't work in that kind of setting,'' Di Marco said. ``Anthrax does not survive in water or ultraviolet light in sunshine.'' The filtration process at the treatment plants removes anything larger than one micron in size. Anthrax spores are larger, and if they did penetrate the filtration, ``our chloramine disinfection process kills it,'' Di Marco said. ``The bigger threat to the reservoirs would be somebody trying to do physical damage,'' he said. So the district is looking at ways to barricade the dams to stop public access, and has suspended tours and installed alarms. With nearly a million customers in Santa Clara County, the San Jose Water Co. is one of the retailers that buy supplies from the water district. ``We're always concerned with public health, and now we're even on more heightened alert,'' said Vice President Richard Balocco. ``We've always had guards; the facilities have always been secure and not available to the public.'' Balocco said the company has taken additional steps since Sept. 11, ``but we're not at liberty to tell you what they are. We're concerned about people circumventing them.'' It's not just drinking water that concerns government officials. San Jose, which operates a municipal water system in some parts of the city, also has boosted security at the sprawling water treatment plant in Alviso, which processes the sewage of 1.3 million people in eight cities. The plant already had perimeter fences, floodlights, surveillance cameras, alarms and guards, said city spokeswoman Lindsey Wolfe. Undisclosed security measures are in place within San Francisco's vast Hetch Hetchy system, which brings water from Hetch Hetchy Reservoir in Yosemite National Park through enclosed pipelines to serve 2.4 million people in San Francisco and parts of San Mateo, Santa Clara and Alameda counties. Two Bay Area treatment plants disinfect the water with chlorine. The San Francisco Water Department has hired a consultant to review the Hetch Hetchy system's security measures and recommend additional steps, said spokeswoman Beverly Hennessey. ``Parts of the system are more vulnerable than others,'' she said. ``We just don't want to compromise the system by telling the public.'' No guards are posted at the system's reservoirs, but watershed keepers live at the sites, she said. Although hikers can trudge around Hetch Hetchy Reservoir and motorists can drive across the dam, in general, ``there is not as much public access as in some of the other districts,'' Hennessey said. Boating and fishing are prohibited except at two small reservoirs in the Sierra. Security has also been beefed up in the East Bay Municipal Utility District, which brings water in three pipelines from the Sierra foothills to serve 1.3 million customers in parts of Alameda and Contra Costa counties. After being purified at plants in Walnut Creek and Orinda, the water is sent to 176 local enclosed storage reservoirs for eventual distribution to the district's retail customers. ``We have raised our antennas as high as they can go,'' said district spokesman Charles Hardy. ``We've added patrols around our facilities and increased our surveillance.'' Hardy said district officials are more concerned about the facilities than the possibility of water being poisoned with anthrax or some other toxin. ``It's just not real -- take one vial and boom,'' he said. ``We're talking about huge reservoirs,'' he said. ``It would take a really huge amount of that material.'' The water is already disinfected with chloramine to get rid of pathogens before delivery, Hardy said. And the district's laboratory tests the water daily. ``We're more concerned about the physical threat to the water system,'' Hardy said. ``We have several layers of security in place, not just a locked gate, a guard and a camera.'' There is reason for concern. Early this month, someone entered a locked district facility in Richmond, broke into a truck and stole district maps and a tool used to open water system valves. At state, federal level The big state and federal projects that move huge amounts of water from Northern California into the Bay Area, the San Joaquin Valley and Southern California also have instituted new security measures. California Highway Patrol aircraft monitor the State Water Project's California Aqueduct, which takes water from the Sacramento-San Joaquin River Delta to Southern California, with the South Bay Aqueduct branching off into Santa Clara County. State park rangers are enforcing ``no public access'' zones within 500 feet of state water structures. Gov. Gray Davis has ordered rigorous testing of all 8,500 public water systems in California. The state Department of Health Services is responsible for oversight and regulation. The U.S. Bureau of Reclamation, which operates the federal Central Valley Project, also has clamped down. The project takes water from Shasta Dam to the San Joaquin Valley and Santa Clara County. Bureau spokesman Jones in Sacramento said tours of Shasta Dam and others in the system have been halted, and access has been restricted to roads crossing some of the dams. However, Jones would not comment on specific security measures. ``It's just not the way we do business,'' he said.